## HB
HB/Parts List | [8 empty] | ver.1.1
Vessel Name | [6 empty] | MFD NO.
Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
MAIN BURNER COMPLETE | 1 | ○ | ○ |  | ① | 1 | 1.5 months | 2.5 | Miss fire |  | ①Burner |  |  | ②Fan |  | ③Boiler top (1) |  | ④Boiler top (2)
FLAME FUNNEL | 1 |  | ○ |  | ① | 2 | 1 month | when overhaul | Black smoke
FIRST DIFFUSER | 1 |  | ○ |  | ① | 3 | 1 month | 5 | Black smoke
MAIN DIFFUSER | 1 |  | ○ |  | ① | 4 | 1 month | 5 | Black smoke
NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ① | 5 | Stock | 3-12M | Miss fire
CUT OFF VALVE FOR PILOT | 1 | ○ | ○ |  | ① | 5 | Stock | 3-12M | Miss fire
SPARK ROD | 1 | ○ | ○ |  | ① | 6 | Stock | 2.5 | Miss fire
FD FAN MOTOR | 1 |  |  | ○ | ② | 7 | 5 months | 10 | FDF trip
FD FAN IMPELLER | 1 |  |  | ○ | ② | 8 | 2.5 months | 7.5 (90,000 times) | FDF trip
FLOW CONTROL VALVE | 1 |  | ○ |  | ③ | 9 | Stock | 5 | Black smoke
CAM MOTOR | 1 |  | ○ | ○ | ③ | 10 | Stock | 5 | Black smoke
SOLENOID VALVE (NO) | 1 | ○ |  |  | ③ | 11 | Stock | 5 | Miss fire
SOLENOID VALVE (NC) | 1 | ○ |  |  | ③ | 12 | Stock | 5 | Miss fire
FLAME EYE | 1 | ○ | ○ | ○ | ③ | 13 | Stock | 5 | Miss fire
O RING FOR COUPLER | 4 | ○ |  |  | ③ | 14 | Stock | 1~2 | Consumable |  | ⑤F.O. Pump unit |  | ⑥ Steam pressure gauge unit |  | ⑦Thermostat for EXH. gas |  | ⑧Water level gauge
FLEXIBLE TUBE FOR MAIN | 2 | ○ |  |  | ③ | 15 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 2 | ○ |  |  | ③⑬ | 15-2 | Stock | 5 | For burn safty
FLEXIBLE TUBE FOR RETURN | 5 | ○ |  |  | ③ | 16 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 5 | ○ |  |  | ③⑬ | 16-2 | Stock | 5 | For burn safty
IGNITION TRANSFORMER | 1 |  |  | ○ | ④ | 17 | Stock | 10 | Miss fire
NEON WIRE | 2(m) |  | ○ |  | ④ | 18 | Stock | 2.5 | Miss fire
PLUG CAP | 2 |  | ○ |  | ④ | 19 | Stock | 2.5 | Miss fire
TEMPERATURE CONTROLLER | 1 |  | ○ |  | ⑤ | 20 | Stock | 5 | Not heating FO
PRESSURE SWITCH FOR FO | 1 |  | ○ |  | ⑤ | 21 | Stock | 7.5 | FO pressure low alarm
SOLENOID VALVE FOR STEAM HEATER | 1 | ○ |  |  | ⑤ | 22 | Stock | 5 | Not enough heating FO
FO PUMP FOR MAIN | 1 |  |  | ○ | ⑤ | 23 | 1-5months | 5 | Capacity down
MECHANICAL SEAL FOR FOP | 2 | ○ | ○ |  | ⑤ | 24 | Stock | 1~2 | Leaking FO
FO PUMP MOTOR | 1 |  |  | ○ | ⑤ | 25 | 3 months | 10 | FOP trip
PILOT PUMP | 1 |  |  | ○ | ⑤ | 26 | Stock | 5 | Miss fire
PILOT PUMP MOTOR | 1 |  |  | ○ | ⑤ | 27 | 3 months | 10 | FOP trip
STEAM PRESSURE GAUGE | 1 |  | ○ |  | ⑥ | 28 | Stock | when overhaul
PRESSURE SWITCH FOR STEAM | 4 |  | ○ |  | ⑥ | 29 | Stock | 7.5 | Steam control fail |  | ⑨Pressure vessel | ⑩Manhole, Inspection hole |  |  | ⑪Control panel
THERMOSTAT FOR EXH. GAS | 1 |  | ○ |  | ⑦ | 30 | Stock | 7.5 | EXH gas high alarm
ELECTRODE HOLDER | 10 | ○ | ○ |  | ⑧ | 31 | Stock | 2 | Water level control fail
WATER LEVEL GAUGE GLASS | 4 | ○ |  |  | ⑧ | 32 | Stock | 1 | Consumable
INSULATION FOR BURNER | 8 |  | ○ |  | ⑨ | 33 | Stock | when overhaul | Consumable
DRUM MANHOLE PACKING | 2 |  | ○ |  | ⑩ | 34 | Stock | when overhaul | Leaking steam
DOOR PACKING FOR INSPECTION HOLE | 6(m) |  | ○ |  | ⑩ | 35 | Stock | when overhaul | Consumable
MAGNETIC CONTACTOR FOR 88F | 1 | ○ | ○ | ○ | ⑪ | 36 | 1 month | 5 | FDF trip
CONTACTOR FOR FS | 1 | ○ | ○ | ○ | ⑪ | 37 | 1 month | 5 | FDF trip
CONTACTOR FOR FD | 1 | ○ | ○ | ○ | ⑪ | 38 | 1 month | 5 | FDF trip
MAGNETIC CONTACTOR FOR FOP MAIN | 2 | ○ | ○ | ○ | ⑪ | 39 | 1 month | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR BSTP | 1 | ○ | ○ | ○ | ⑪ | 40 | 1 month | 7.5 | Magnetic low alarm
CONTACTOR FOR FOH | 1 |  | ○ |  | ⑪ | 41 | Stock | 2.5 | Contactor low alarm
RELAY 100V | 28 | ○ | ○ |  | ⑪ | 42 | Stock | 5 | Boiler control fail
RELAY 24V | 9 | ○ | ○ |  | ⑪ | 43 | Stock | 5 | Boiler control fail
AUXILIARY RELAY 440V | 1 | ○ | ○ |  | ⑪ | 44 | Stock | 5 | FDF trip
WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑪ | 45 | Stock | 7.5 | Water level control fail
FLAME DETECTOR | 1 |  |  | ○ | ⑪ | 46 | Stock | 7.5 | Flame low alarm
SWITCHING POWER UNIT | 1 |  |  | ○ | ⑪ | 47 | Stock | 10 | Boiler control fail
SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑫ | 48 | 1week to 1month | 10 | Boiler control fail
SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑫ | 49 | 1week to 1month | 10 | Boiler control fail
SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑫ | 49 | 1week to 1month | 10 | Boiler control fail
SEQUENCER INPUT | 4 | ○ |  | ○ | ⑫ | 50 | 1week to 1month | 10 | Boiler control fail |  |  | ⑬Insulation mat for flexible tube |  |  | ⑫Sequencer
SEQUENCER OUTPUT | 4 | ○ |  | ○ | ⑫ | 51 | 1week to 1month | 10 | Boiler control fail
BATTERY | 1 |  | ○ |  | ⑫ | 52 | Stock | 5 | Consumable
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
46
36
38
37
39
40
41
42
43
44
47
45
7
16
10
11
15
12
9
14
13
17
19
18
28
29
30
31
32
33
34
35
48
49
50
51
52
3
4
1
5
6
2
20
21
25
24
23
26
27
22
8
15-2
16-2
15-2
16-2

## HB-T (1 control motor)
HB-T/Parts List(1 control motor type) | [8 empty] | ver.1.1
Vessel Name | [6 empty] | MFD NO.
Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
MAIN BURNER NOZZLE | 1 | ○ | ○ |  | ① | 1 | Stock | 2.5 | Miss fire |  | ①Burner |  | ②Fan
DIFFUSER FOR MAIN | 1 |  | ○ |  | ① | 2 | Stock | 5 | Miss fire
CHECK VALVE FOR MAIN | 1 |  | ○ |  | ① | 3 | Stock | 2.5 | Miss fire
DIFFUSER FOR PILOT | 1 |  | ○ |  | ① | 4 | Stock | 5 | Miss fire
NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ① | 5 | Stock | 3-12M | Miss fire
CUT OFF VALVE FOR PILOT | 1 | ○ | ○ |  | ① | 6 | Stock | 3-12M | Miss fire
SPARK ROD | 1 | ○ | ○ |  | ① | 7 | Stock | 2.5 | Miss fire
FD FAN MOTOR | 1 |  |  | ○ | ② | 8 | 5 months | 10 | FDF trip
FD FAN IMPELLER | 1 |  |  | ○ | ② | 9 | 2.5 months | 7.5 (90,000 times) | FDF trip
INNER CYLINDER | 1 |  | ○ |  | ③ | 10 | 1 month | when overhaul | Black smoke
CAM MOTOR | 1 |  |  | ○ | ③ | 11 | 1 month | 5 | Black smoke |  | ③ Burner unit |  |  |  | ④F.O. Pump unit
INSULATION FOR BURNER | 8 |  | ○ |  | ③ | 12 | Stock | when overhaul | Consumable
FLOW CONTROL VALVE | 1 |  | ○ |  | ③ | 13 | 1 month | 7.5 | Black smoke
PNEUMATIC VALVE FOR FO LINE | 2 | ○ |  |  | ③ | 14 | 1 month | 5 | Miss fire
STEAM REDUCING VALVE FOR ATOMIZE | 1 |  | ○ |  | ③ | 15 | 3 months | 7.5 | Black smoke
EQUALIZING VALVE | 1 |  |  | ○ | ③ | 16 | 3 months | 7.5 | Black smoke
FLEXIBLE TUBE FOR MAIN | 1 | ○ |  |  | ③ | 17 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 1 | ○ |  |  | ③⑬ | 17-2 | Stock | 5 | For burn safty
FLEXIBLE TUBE FOR ATOMIZE STEAM | 1 | ○ |  |  | ③ | 18 | Stock | 1~2 | Leaking FO
O RING FOR COUPLER | 2 | ○ |  |  | ③ | 19 | Stock | 1~2 | Consumable
PLUG CAP | 2 |  | ○ |  | ③ | 20 | Stock | 2.5 | Miss fire
NEON WIRE | 2(m) |  | ○ |  | ③ | 21 | Stock | 2.5 | Miss fire
IGNITION TRANSFORMER | 1 |  |  | ○ | ③ | 22 | Stock | 10 | Miss fire
FLEXIBLE TUBE FOR PILOT | 1 | ○ |  |  | ③ | 23 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 1 | ○ |  |  | ③⑬ | 23-2 | Stock | 5 | For burn safty
FLEXIBLE TUBE FOR ATOMIZE AIR | 1 | ○ |  |  | ③ | 24 | Stock | 1~2 | Leaking FO |  | ⑤FO pressure switch | ⑥Atomize pressure switch |  | ⑦Thermostat for EXH. gas |  |  | ⑧Water level gauge | ⑨Steam pressure gauge unit
FO PUMP MOTOR | 2 |  |  | ○ | ④ | 25 | 3 months | 10 | FOP trip
PILOT PUMP | 1 |  |  | ○ | ④ | 26 | Stock | 5 | Miss fire
PILOT PUMP MOTOR | 1 |  |  | ○ | ④ | 27 | 3 months | 10 | FOP trip
FO PUMP | 2 |  |  | ○ | ④ | 28 | 1-5 months | 5 | Capacity down
MECHANICAL SEAL FOR FOP | 2 | ○ | ○ |  | ④ | 29 | Stock | 1~2 | Leaking FO
TEMPERATURE CONTROLLER | 1 |  | ○ |  | ④ | 30 | Stock | 5 | Not heating FO
SOLENOID VALVE FOR STEAM HEATER | 1 | ○ |  |  | ④ | 31 | Stock | 5 | Not enough heating FO
PRESSURE SWITCH FOR FO | 1 |  | ○ |  | ⑤ | 32 | Stock | 7.5 | FO pressure low alarm
PRESSURE SWITCH FOR STEAM ATOMIZE | 1 |  | ○ |  | ⑥ | 33 | Stock | 7.5 | Steam atomize alarm
PRESSURE SWITCH FOR AIR ATOMIZE | 1 |  | ○ |  | ⑥ | 34 | Stock | 7.5 | Air atomize alarm
THERMOSTAT FOR EXH. GAS | 1 |  | ○ |  | ⑦ | 35 | Stock | 7.5 | EXH gas high alarm
ELECTRODE HOLDER | 10 | ○ | ○ |  | ⑧ | 36 | Stock | 2 | Water level control fail
WATER LEVEL GAUGE GLASS | 4 | ○ |  |  | ⑧ | 37 | Stock | 1 | Consumable
STEAM PRESSURE GAUGE | 1 |  | ○ |  | ⑨ | 38 | Stock | when overhaul |  |  | ⑩Manhole, Inspection hole |  |  |  |  | ⑪Control panel |  |  | ⑫Sequencer
PRESSURE SWITCH FOR MAIN STEAM ALARM | 2 |  | ○ |  | ⑨ | 39 | Stock | 7.5 | Alarm fail
DRUM MANHOLE PACKING | 2 |  | ○ |  | ⑩ | 40 | Stock | when overhaul | Leaking steam
DOOR PACKING FOR INSPECTION HOLE | 6(m) |  | ○ |  | ⑩ | 41 | Stock | when overhaul | Consumable
MAGNETIC CONTACTOR FOR 88F | 1 | ○ | ○ | ○ | ⑪ | 42 | 1 month | 5 | FDF trip
CONTACTOR FOR FS | 1 | ○ | ○ | ○ | ⑪ | 43 | 1 month | 5 | FDF trip
CONTACTOR FOR FD | 1 | ○ | ○ | ○ | ⑪ | 44 | 1 month | 5 | FDF trip
MAGNETIC CONTACTOR FOR FOP MAIN | 2 | ○ | ○ | ○ | ⑪ | 45 | 1 month | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR FOP PILOT | 1 | ○ | ○ | ○ | ⑪ | 46 | 1 month | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR BSTP | 1 | ○ | ○ | ○ | ⑪ | 47 | 1 month | 7.5 | Magnetic low alarm
CONTACTOR FOR FOH | 1 |  | ○ |  | ⑪ | 48 | Stock | 2.5 | Contactor low alarm
RELAY 100V | 32 | ○ | ○ |  | ⑪ | 49 | Stock | 5 | Boiler control fail | [9 empty] | ⑬Insulation mat for flexible tube
RELAY 24V | 23 | ○ | ○ |  | ⑪ | 50 | Stock | 5 | Boiler control fail
AUXILIARY RELAY 88F | 5 | ○ | ○ |  | ⑪ | 51 | Stock | 5 | FDF trip
WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑪ | 52 | Stock | 7.5 | Water level control fail
FLAME DETECTOR | 1 |  |  | ○ | ⑪ | 53 | Stock | 7.5 | Flame low alarm
STEAM PRESS CONTROLLER | 1 |  |  | ○ | ⑪ | 54 | 1 month | 7.5 | Boiler control fail
WATER LEVEL CONTROLLER | 1 |  |  | ○ | ⑪ | 55 | 1 month | 7.5 | Water level control fail
SWITCHING POWER UNIT | 1 |  |  | ○ | ⑪ | 56 | Stock | 10 | Boiler control fail
DISTRIBUTOR | 2 |  |  | ○ | ⑪ | 57 | 1 month | 7.5 | Boiler control fail
SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑫ | 58 | 1week to 1month | 10 | Boiler control fail
SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑫ | 59 | 1week to 1month | 10 | Boiler control fail
SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑫ | 59 | 1week to 1month | 10 | Boiler control fail
SEQUENCER INPUT | 4 | ○ |  | ○ | ⑫ | 60 | 1week to 1month | 10 | Boiler control fail
SEQUENCER OUTPUT | 4 | ○ |  | ○ | ⑫ | 61 | 1week to 1month | 10 | Boiler control fail
BATTERY | 1 |  | ○ |  | ⑫ | 62 | Stock | 5 | Consumable
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
54
55
53
42
44
43
45
47
48
49
50
51
56
52
46
57
1
2
4
5
6
3
7
29
32
33
34
35
14
13
15
16
17
20
21
18
22
19
24
23
26
25
27
28
29
38
11
12
10
8
58
59
60
61
62
36
37
31
30
39
41
40
9
39
17-2
23-2
17-2
23-2

## HB-T (2 contorol motor)
HB-T/Parts List(2 control motor type) | [8 empty] | ver.1.1
Vessel Name | [6 empty] | MFD NO.
Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
MAIN BURNER NOZZLE | 1 | ○ | ○ |  | ① | 1 | Stock | 2.5 | Miss fire |  | ①Burner |  | ②Fan
DIFFUSER FOR MAIN | 1 |  | ○ |  | ① | 2 | Stock | 5 | Miss fire
CHECK VALVE FOR MAIN | 1 | ○ | ○ |  | ① | 3 | Stock | 2.5 | Miss fire
DIFFUSER FOR PILOT | 1 |  | ○ |  | ① | 4 | Stock | 5 | Miss fire
NOZZLE TIP FOR PILOT | 1 |  | ○ |  | ① | 5 | Stock | 3-12M | Miss fire
CUT OFF VALVE FOR PILOT | 1 |  | ○ |  | ① | 6 | Stock | 3-12M | Miss fire
SPARK ROD | 1 | ○ | ○ |  | ① | 7 | Stock | 2.5 | Miss fire
FD FAN MOTOR | 1 |  |  | ○ | ② | 8 | 5 months | 10 | FDF trip
FD FAN IMPELLER | 1 |  |  | ○ | ② | 9 | 2.5 months | 7.5 (90,000 times) | FDF trip
INNER CYLINDER | 1 |  | ○ |  | ③ | 10 | 1 month | when overhaul | Black smoke
INSULATION FOR BURNER | 8 |  | ○ |  | ③ | 11 | Stock | when overhaul | Consumable |  | ③ Burner unit |  |  |  | ④F.O. Pump unit
CONTROL MOTOR FOR AIR | 1 |  |  | ○ | ③ | 12 | 1 month | 10 | Black smoke
CONTROL MOTOR FOR FO | 1 |  |  | ○ | ③ | 13 | 1 month | 10 | Black smoke
FLOW CONTROL VALVE | 1 |  | ○ |  | ③ | 14 | 1 month | 7.5 | Black smoke
SOLENOID VALVE FOR FO LINE | 2 | ○ |  |  | ③ | 15 | 1 month | 5 | Miss fire
STEAM REDUCING VALVE FOR ATOMIZE | 1 |  | ○ |  | ③ | 16 | 3 months | 7.5 | Black smoke
EQUALIZING VALVE | 1 |  |  | ○ | ③ | 17 | 3 months | 7.5 | Black smoke
FLEXIBLE TUBE FOR ATOMIZE STEAM | 1 | ○ |  |  | ③ | 18 | Stock | 1~2 | Leaking FO
O RING FOR COUPLER | 2 | ○ |  |  | ③ | 19 | Stock | 1~2 | Consumable
PLUG CAP | 2 |  | ○ |  | ③ | 20 | Stock | 2.5 | Miss fire
NEON WIRE | 2(m) |  | ○ |  | ③ | 21 | Stock | 2.5 | Miss fire
IGNITION TRANSFORMER | 1 |  |  | ○ | ③ | 22 | Stock | 10 | Miss fire
FLEXIBLE TUBE FOR PILOT | 1 | ○ |  |  | ③ | 23 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 1 | ○ |  |  | ③ | 23-2 | Stock | 5 | For burn safty
FLEXIBLE TUBE FOR MAIN | 1 | ○ |  |  | ③ | 24 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 1 | ○ |  |  | ③ | 24-2 | Stock | 5 | For burn safty |  | ⑤FO pressure switch | ⑥Atomize pressure switch |  | ⑦Thermostat for EXH. gas |  |  | ⑧Water level gauge | ⑨Steam pressure gauge unit
FLEXIBLE TUBE FOR ATOMIZE AIR | 1 | ○ |  |  | ③ | 25 | Stock | 1~2 | Leaking FO
FO PUMP MOTOR | 2 |  |  | ○ | ④ | 26 | 3 months | 10 | FOP trip
PILOT PUMP | 1 |  |  | ○ | ④ | 27 | Stock | 5 | Miss fire
PILOT PUMP MOTOR | 1 |  |  | ○ | ④ | 28 | 3 months | 10 | FOP trip
FO PUMP | 2 |  |  | ○ | ④ | 29 | 1-5 months | 5 | Capacity down
MECHANICAL SEAL FOR FOP | 2 | ○ | ○ |  | ④ | 30 | Stock | 1~2 | Leaking FO
TEMPERATURE CONTROLLER | 1 |  | ○ |  | ④ | 31 | Stock | 5 | Not heating FO
SOLENOID VALVE FOR STEAM HEATER | 1 | ○ |  |  | ④ | 32 | Stock | 5 | Not enough heating FO
PRESSURE SWITCH FOR FO | 1 |  | ○ |  | ⑤ | 33 | Stock | 7.5 | FO pressure low alarm
PRESSURE SWITCH FOR ATOMIZE STEAM | 1 |  | ○ |  | ⑥ | 34 | Stock | 7.5 | Steam atomize alarm
PRESSURE SWITCH FOR ATOMIZE AIR | 1 |  | ○ |  | ⑥ | 35 | Stock | 7.5 | Air atomize alarm
THERMOSTAT FOR EXH. GAS | 1 |  | ○ |  | ⑦ | 36 | Stock | 7.5 | EXH gas high alarm
ELECTRODE HOLDER | 5 | ○ | ○ |  | ⑧ | 37 | Stock | 2 | Water level control fail
WATER LEVEL GAUGE GLASS | 2 | ○ |  |  | ⑧ | 38 | Stock | 1 | Consumable |  | ⑩Manhole, Inspection hole |  |  |  |  | ⑪Control panel |  |  | ⑫Sequencer
STEAM PRESSURE GAUGE | 1 |  | ○ |  | ⑨ | 39 | Stock | when overhaul
PRESSURE SWITCH FOR MAIN STEAM ALARM | 2 |  | ○ |  | ⑨ | 40 | Stock | 7.5 | Alarm fail
DRUM MANHOLE PACKING | 2 |  | ○ |  | ⑪ | 41 | Stock | when overhaul | Leaking steam
DOOR PACKING FOR INSPECTION HOLE | 1 |  | ○ |  | ⑪ | 42 | Stock | when overhaul | Consumable
MAGNETIC CONTACTOR FOR 88F | 1 | ○ | ○ | ○ | ⑪ | 43 | 1 month | 5 | FDF trip
CONTACTOR FOR FS | 1 | ○ | ○ | ○ | ⑪ | 44 | 1 month | 5 | FDF trip
CONTACTOR FOR FD | 1 | ○ | ○ | ○ | ⑪ | 45 | 1 month | 5 | FDF trip
MAGNETIC CONTACTOR FOR FOP MAIN | 2 | ○ | ○ | ○ | ⑪ | 46 | 1 month | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR FOP PILOT | 1 | ○ | ○ | ○ | ⑪ | 47 | 1 month | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR BSTP | 1 | ○ | ○ | ○ | ⑪ | 48 | 1 month | 7.5 | Magnetic low alarm
CONTACTOR FOR FOH | 1 |  | ○ |  | ⑪ | 49 | Stock | 2.5 | Contactor low alarm | [9 empty] | ⑬Insulation mat for flexible tube
RELAY 100V | 32 | ○ | ○ |  | ⑪ | 50 | Stock | 5 | Boiler control fail
RELAY 24V | 23 | ○ | ○ |  | ⑪ | 51 | Stock | 5 | Boiler control fail
AUXILIARY RELAY 88F | 5 | ○ | ○ |  | ⑪ | 52 | Stock | 5 | FDF trip
WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑪ | 53 | Stock | 7.5 | Water level control fail
FLAME DETECTOR | 1 |  |  | ○ | ⑪ | 54 | Stock | 7.5 | Flame low alarm
STEAM PRESS CONTROLLER | 1 |  |  | ○ | ⑪ | 55 | 1 month | 7.5 | Boiler control fail
WATER LEVEL CONTROLLER | 1 |  |  | ○ | ⑪ | 56 | 1 month | 7.5 | Water level control fail
SWITCHING POWER UNIT | 1 |  |  | ○ | ⑪ | 57 | Stock | 10 | Boiler control fail
DISTRIBUTOR | 2 |  |  | ○ | ⑪ | 58 | 1 month | 7.5 | Boiler control fail
SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑫ | 59 | 1week to 1month | 10 | Boiler control fail
SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑫ | 60 | 1week to 1month | 10 | Boiler control fail
SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑫ | 60 | 1week to 1month | 10 | Boiler control fail
SEQUENCER INPUT | 4 | ○ |  | ○ | ⑫ | 61 | 1week to 1month | 10 | Boiler control fail
SEQUENCER OUTPUT | 4 | ○ |  | ○ | ⑫ | 62 | 1week to 1month | 10 | Boiler control fail
BATTERY | 1 |  | ○ |  | ⑫ | 63 | Stock | 5 | Consumable
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
55
56
54
43
45
44
46
48
49
50
51
52
57
53
47
58
1
2
4
5
6
3
7
10
11
12
13
33
34
35
36
14
15
16
17
20
21
18
22
19
24
23
25
8
59
60
61
62
63
31
27
26
28
29
30
39
32
37
38
40
40
42
41
9
24-2
23-2
23-2
24-2

## VWH
| VWH/Parts List | [8 empty] | ver.1.1
| Vessel Name | [6 empty] | MFD NO.
| Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
| BURNER ASSEMBLY | 1 | ○ | ○ |  | ① | 1 | 2 months | For spare | Miss fire |  | ①Burner |  |  |  | ②Burner unit | ③Around burner
| NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
| CUT OFF VALVE FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
| NOZZLE TIP FOR MAIN | 1 or 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
| CUT OFF VALVE FOR MAIN | 1 or 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
| SPARK ROD | 1 | ○ | ○ |  | ① | 4 | Stock | 2.5 | Miss fire
| DIFFUSER FOR MAIN | 1 |  | ○ |  | ① | 5 | Stock | 5 | Black smoke
| AIR REGISTER | 1 |  | ○ |  | ② | 6 | 1 month | when overhaul | Black smoke
| INSULATION FOR BURNER | 4 |  | ○ |  | ② | 7 | Stock | when overhaul | Consumable
| SOLENOID VALVE FOR PILOT | 3 | ○ |  |  | ③ | 8 | Stock | 2.5 | Miss fire
| SOLENOID VALVE FOR MAIN | 3 | ○ |  |  | ③ | 9 | Stock | 2.5 | Miss fire
| FLEXIBLE TUBE | 5 | ○ | ○ |  | ③ | 10 | Stock | 1~2 | Leaking FO
| INSULATION MAT FOR FLEXIBLE TUBE | 5 | ○ |  |  | ③⑪ | 10-2 | Stock | 5 | For burn safty |  | ④F.O. Pump unit
| O RING FOR COUPLER | 5 | ○ | ○ |  | ③ | 11 | Stock | 1~2 | Consumable
| IGNITION TRANSFORMER | 1 |  |  | ○ | ③ | 12 | Stock | 2.5 | Miss fire
| PLUG CAP | 2 |  | ○ |  | ③ | 13 | Stock | 5 | Miss fire | [6 empty] | ⑤Water level gauge | ⑥Boiler body
| NEON WIRE | 2(m) |  | ○ |  | ③ | 13 | Stock | 2.5 | Miss fire
| GEARED MOTOR FOR DAMPER | 2 |  | ○ |  | ③ | 14 | Stock | 5 | Black smoke
| COUPLING RUBBER FOR DAMPER | 2 | ○ | ○ |  | ③ | 14 | Stock | 2.5 | Consumable
| TIMING SWITCH | 1 |  | ○ |  | ③ | 15 | Stock | 5 | Black smoke | [5 empty] | ⑦Coupler
| FAN MOTOR | 1 |  |  | ○ | ③ | 16 | 3 months | 10 | FDF trip
| FAN MOTOR BEARING | 2 |  | ○ |  | ③ | 16 | Stock | 2 | FDF trip
| RELIEF VALVE FOR FO LINE | 1 |  | ○ |  | ③ | 17 | Stock | 5 | Black smoke
| FO PUMP MAIN | 1 |  |  | ○ | ④ | 18 | Stock | 5 | Capacity down
| MECHANICAL SEAL FOR FOP | 1 | ○ | ○ |  | ④ | 18 | Stock | 1 | Leaking FO
| FO PUMP MOTOR FOR MAIN | 1 |  |  | ○ | ④ | 19 | 1 month | 10 | FO pump trip
| PILOT PUMP | 1 |  |  | ○ | ④ | 20 | Stock | 5 | Miss fire
| PILOT PUMP MOTOR | 1 |  |  | ○ | ④ | 20 | Stock | 10 | FOP trip
| TEMPERATURE CONTROLLER | 1 | ○ |  |  | ④ | 21 | Stock | 7.5 | FO temp low
| WATER LEVEL GAUGE GLASS | 2 | ○ | ○ |  | ⑤ | 22 | Stock | 1 | Consumable
| ELECTRODE HOLDER | 10 | ○ | ○ |  | ⑤ | 23 | Stock | 2 | Water level control fail
| WIND BOX PACKING | 5(m) |  | ○ |  | ⑥ | 24 | Stock | when overhaul | Consumable
| PACKING FOR DRUM INSPECTION HOLE | 6 |  | ○ |  | ⑥ | 25 | Stock | when overhaul | Leaking steam |  |  |  | ⑧Sequencer | ⑨Control panel (1)
| DOOR PACKING FOR INSPECTION HOLE | 3(m) |  | ○ |  | ⑥ | 26 | Stock | when overhaul | Consumable
| BATTERY | 1 |  | ○ |  | ⑧ | 27 | Stock | 5 | Consumable
| SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑧ | 28 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑧ | 29 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑧ | 29 | 1week to 1month | 10 | Boiler control fail | [6 empty] | ⑩Control panel (2)
| SEQUENCER INPUT UNIT | 2 | ○ |  | ○ | ⑧ | 30 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER OUTPUT UNIT | 3 | ○ |  | ○ | ⑧ | 31 | 1week to 1month | 10 | Boiler control fail
| FLAME DETECTOR | 1 |  |  | ○ | ⑨ | 32 | Stock | 7.5 | Flame low alarm
| WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑨ | 33 | Stock | 7.5 | Water level control fail
| AUXILIARY RELAY 440V | 1 | ○ | ○ |  | ⑨ | 34 | Stock | 5 | FDF trip |  |  | ⑪Insulation mat for flexible tube
| RELAY 100V | 13 | ○ | ○ |  | ⑨ | 35 | Stock | 5 | Boiler control fail
| RELAY 24V | 8 | ○ | ○ |  | ⑨ | 36 | Stock | 5 | Boiler control fail
| SWITCHING POWER UNIT | 1 |  |  | ○ | ⑨ | 37 | Stock | 10 | Boiler control fail
i | MAGNETIC CONTACTOR FOR FDF | 1 | ○ | ○ |  | ⑩ | 38 | Stock | 7.5 | Magnetic low alarm
| MAGNETIC CONTACTOR FOR FOP | 1 | ○ | ○ |  | ⑩ | 38 | Stock | 7.5 | Magnetic low alarm
| MAGNETIC CONTACTOR FOR FWP | 2 | ○ | ○ |  | ⑩ | 38 | Stock | 7.5 | Magnetic low alarm
| CONTACTOR FOR FOH | 1 |  | ○ |  | ⑩ | 38 | Stock | 2.5 | Contactor low alarm
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
1
5
4
3
2
11
6
7
17
8
16
14
12
13
15
9
20
20
21
18
19
22
23
26
25
24
27
28
29
30
31
27
37
35
36
34
33
32
38
10
11
10-2
10-2

## GK
| GK/Parts List | [8 empty] | ver.1.1
| Vessel Name | [6 empty] | MFD NO.
| Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
| BURNER ASSEMBLY | 1 | ○ | ○ |  | ① | 1 | 2 months | For spare | Miss fire |  | ①Burner |  |  |  | ②Burner unit | ③Around burner
| NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
| CUT OFF VALVE FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
| NOZZLE TIP FOR MAIN | 1 or 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
| CUT OFF VALVE FOR MAIN | 1 or 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
| SPARK ROD | 1 | ○ | ○ |  | ① | 4 | Stock | 2.5 | Miss fire
| DIFFUSER FOR MAIN | 1 |  | ○ |  | ① | 5 | Stock | 5 | Black smoke
| AIR REGISTER | 1 |  | ○ |  | ② | 6 | 1 month | when overhaul | Black smoke
| INSULATION FOR BURNER | 4 |  | ○ |  | ② | 7 | Stock | when overhaul | Consumable
| SOLENOID VALVE FOR PILOT | 3 | ○ |  |  | ③ | 8 | Stock | 2.5 | Miss fire
| SOLENOID VALVE FOR MAIN | 3 | ○ |  |  | ③ | 9 | Stock | 2.5 | Miss fire
| FLEXIBLE TUBE | 5 | ○ | ○ |  | ③ | 10 | Stock | 1~2 | Leaking FO
| INSULATION MAT FOR FLEXIBLE TUBE | 5 | ○ |  |  | ③⑪ | 10-2 | Stock | 5 | For burn safty |  | ④F.O. pump unit
| O RING FOR COUPLER | 5 | ○ | ○ |  | ⑦ | 11 | Stock | 1~2 | Consumable
| IGNITION TRANSFORMER | 1 |  |  | ○ | ③ | 12 | Stock | 2.5 | Miss fire
| PLUG CAP | 2 |  | ○ |  | ③ | 13 | Stock | 5 | Miss fire | [6 empty] | ⑤Water level gauge | ⑥Boiler body
| NEON WIRE | 2(m) |  | ○ |  | ③ | 13 | Stock | 2.5 | Miss fire
| GEARED MOTOR FOR DAMPER | 2 |  | ○ |  | ③ | 14 | Stock | 5 | Black smoke
| COUPLING RUBBER FOR DAMPER | 2 | ○ | ○ |  | ③ | 14 | Stock | 2.5 | Consumable
| TIMING SWITCH | 1 |  | 〇 |  | ③ | 15 | Stock | 5 | Black smoke | [5 empty] | ⑦Coupler
| FAN MOTOR | 1 |  |  | ○ | ③ | 16 | 3 months | 10 | FDF trip
| FAN MOTOR BEARING | 2 |  | ○ |  | ③ | 16 | Stock | 2 | FDF trip
| RELIEF VALVE FOR FO LINE | 1 |  | ○ |  | ③ | 17 | Stock | 5 | Black smoke
| FO PUMP MAIN | 1 |  |  | ○ | ④ | 18 | Stock | 5 | Capacity down
| MECHANICAL SEAL FOR FOP | 1 | ○ | ○ |  | ④ | 18 | Stock | 1 | Leaking FO
| FO PUMP MOTOR FOR MAIN | 1 |  |  | ○ | ④ | 19 | 1 month | 10 | FO pump trip
| PILOT PUMP | 1 |  |  | ○ | ④ | 20 | Stock | 5 | Miss fire
| PILOT PUMP MOTOR | 1 |  |  | ○ | ④ | 21 | Stock | 10 | FOP trip
| TEMPERATURE CONTROLLER | 1 | ○ |  |  | ④ | 22 | Stock | 7.5 | FO temp low
| WATER LEVEL GAUGE GLASS | 2 | ○ | ○ |  | ⑤ | 23 | Stock | 1 | Consumable
| ELECTRODE HOLDER | 10 | ○ | ○ |  | ⑤ | 24 | Stock | 2 | Water level control fail
| WIND BOX PACKING | 4(m) |  | ○ |  | ⑥ | 25 | Stock | when overhaul | Consumable |  |  |  | ⑧Sequencer | ⑨Control panel (1)
| DRUM MANHOLE PACKING | 2 |  | ○ |  | ⑥ | 26 | Stock | when overhaul | Leaking steam
| DOOR PACKING FOR INSPECTION HOLE | 3 |  | ○ |  | ⑥ | 27 | Stock | when overhaul | Consumable
| DOOR PACKING FOR FURNACE INSPECTION HOLE | 2 |  | 〇 |  | ⑥ | 28 | Stock | when overhaul | Consumable
| BATTERY | 1 |  | ○ |  | ⑧ | 29 | Stock | 5 | Consumable
| SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑧ | 30 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑧ | 31 | 1week to 1month | 10 | Boiler control fail | [6 empty] | ⑩Control panel (2)
| SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑧ | 31 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER INPUT UNIT | 2 | ○ |  | ○ | ⑧ | 32 | 1week to 1month | 10 | Boiler control fail
| SEQUENCER OUTPUT UNIT | 3 | ○ |  | ○ | ⑧ | 33 | 1week to 1month | 10 | Boiler control fail
| FLAME DETECTOR | 1 |  |  | ○ | ⑨ | 34 | Stock | 7.5 | Flame low alarm |  |  | ⑪Insulation mat for flexible tube
| WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑨ | 35 | Stock | 7.5 | Water level control fail
| AUXILIARY RELAY 440V | 1 | ○ | ○ |  | ⑨ | 36 | Stock | 5 | FDF trip
| RELAY 100V | 13 | ○ | ○ |  | ⑨ | 37 | Stock | 5 | Boiler control fail
| RELAY 24V | 8 | ○ | ○ |  | ⑨ | 38 | Stock | 5 | Boiler control fail
i | SWITCHING POWER UNIT | 1 |  |  | ○ | ⑨ | 39 | Stock | 10 | Boiler control fail
| MAGNETIC CONTACTOR FOR FDF | 1 | ○ | ○ |  | ⑩ | 40 | Stock | 7.5 | Magnetic low alarm
| MAGNETIC CONTACTOR FOR FOP | 1 | ○ | ○ |  | ⑩ | 40 | Stock | 7.5 | Magnetic low alarm
| MAGNETIC CONTACTOR FOR FWP | 2 | ○ | ○ |  | ⑩ | 40 | Stock | 7.5 | Magnetic low alarm
| CONTACTOR FOR FOH | 1 |  | ○ |  | ⑩ | 40 | Stock | 2.5 | Contactor low alarm
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items requesy.
1
5
4
3
2
7
6
8
13
12
15
16
14
9
17
20
21
22
18
19
23
24
30
31
32
33
29
39
37
38
36
35
34
40
10
11
27
28
26
25
11
10-2
10-2

## GK-S(380cst)
GK-S(380cst model)/Parts List | [8 empty] | ver.1.1
Vessel Name | [6 empty] | MFD NO.
Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
BURNER ASSEMBLY | 1 | ○ | ○ |  | ① | 1 | 2 months | For spare | Miss fire |  | ①Burner |  |  | ②Around burner, Wind box |  |  | ③F.O. pump unit
NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
CUT OFF VALVE FOR PILOT | 1 | ○ | ○ |  | ① | 2 | Stock | 3-12M | Miss fire
NOZZLE TIP FOR MAIN | 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
CUT OFF VALVE FOR PILOT | 2 | ○ | ○ |  | ① | 3 | Stock | 3-12M | Miss fire
SPARK ROD | 1 | ○ | ○ |  | ① | 4 | Stock | 2.5 | Miss fire
DIFFUSER FOR MAIN | 1 |  | ○ |  | ① | 5 | Stock | 5 | Black smoke
AIR REGISTER | 1 |  | ○ |  | ② | 6 | 1 month | when overhaul | Black smoke
INSULATION FOR BURNER | 2 |  | ○ |  | ② | 7 | Stock | when overhaul | Consumable
SOLENOID VALVE FOR PILOT | 3 | ○ |  |  | ② | 8 | Stock | 2.5 | Miss fire
SOLENOID VALVE FOR MAIN | 3 | ○ |  |  | ② | 9 | Stock | 2.5 | Miss fire
FLEXIBLE TUBE FOR MAIN | 5 | ○ | ○ |  | ② | 10 | Stock | 1~2 | Leaking FO
INSULATION MAT FOR FLEXIBLE TUBE | 5 | ○ |  |  | ③⑩ | 10-2 | Stock | 5 | For burn safty |  | ④Around boiler body
O RING FOR COUPLER | 5 | ○ | ○ |  | ② | 11 | Stock | 1~2 | Consumable
IGNITION TRANSFORMER | 1 |  |  | ○ | ② | 12 | Stock | 2.5 | Miss fire
PLUG CAP | 2 |  | ○ |  | ② | 12 | Stock | 2.5 | Miss fire
NEON WIRE | 2(m) |  | ○ |  | ② | 12 | Stock | 2.5 | Miss fire
GEARED MOTOR FOR DAMPER | 1 |  | ○ |  | ② | 13 | Stock | 5 | Black smoke
COUPLING RUBBER FOR DAMPER | 1 | ○ | ○ |  | ② | 13 | Stock | 2.5 | Consumable |  |  |  | ⑤Water level gauge |  |  | ⑥Steam pressure gauge |  |  | ⑥Sequencer
TIMING SWITCH | 1 |  | 〇 |  | ② | 14 | Stock | 5 | Black smoke
FAN MOTOR | 1 |  |  | ○ | ② | 15 | 3 months | 10 | FDF trip
FAN MOTOR BEARING | 2 |  | ○ |  | ② | 15 | Stock | 2 | FDF trip
FO PUMP MAIN | 2 |  |  | ○ | ③ | 16 | Stock | 5 | Capacity down
MECHANICAL SEAL FOR FOP | 2 | ○ | ○ |  | ③ | 16 | Stock | 1 | Leaking FO
MOTOR FOR FO PUMP | 2 |  |  | ○ | ③ | 17 | 1 month | 10 | FO pump trip
PILOT PUMP | 1 |  |  | ○ | ③ | 18 | Stock | 5 | Miss fire
PILOT PUMP MOTOR | 1 |  |  | ○ | ③ | 19 | Stock | 10 | FOP trip
TEMPERATURE CONTROLLER | 1 | ○ |  |  | ③ | 20 | Stock | 7.5 | FO temp low
PACKING FOR EXH. GAS OUTLET FLANGE(BURNER SIDE) | 6(m) |  | ○ |  | ④ | 21 | Stock | when overhaul | Consumable
WIND BOX PACKING | 4(m) |  | ○ |  | ④ | 22 | Stock | when overhaul | Consumable
DRUM MANHOLE PACKING | 2 |  | ○ |  | ④ | 23 | Stock | when overhaul | Leaking steam
PACKING FOR INSPECTION HOLE(EXH. GAS SIDE) | 6(m) |  | ○ |  | ④ | 24 | Stock | when overhaul | Consumable | [8 empty] | ⑧Control Panel (1)
PACKING FOR INSPECTION HOLE(WATER SIDE) | 4 |  | ○ |  | ④ | 25 | Stock | when overhaul | Consumable
WATER LEVEL GAUGE GLASS | 2 | ○ | ○ |  | ⑤ | 26 | Stock | 1 | Consumable
ELECTRODE HOLDER | 10 | ○ | ○ |  | ⑤ | 27 | Stock | 2 | Water level control fail
STEAM PRESSURE GAUGE | 1 |  | ○ |  | ⑥ | 28 | Stock | when overhaul
BATTERY | 1 |  | ○ |  | ⑦ | 29 | Stock | 5 | Consumable
SEQUENCER POWER UNIT | 1 |  |  | ○ | ⑦ | 30 | 1week to 1month | 10 | Boiler control fail
SEQUENCER CPU UNIT | 1 |  |  | ○ | ⑦ | 31 | 1week to 1month | 10 | Boiler control fail
SEQUENCER MEMORY UNIT | 1 |  |  | ○ | ⑦ | 31 | 1week to 1month | 10 | Boiler control fail |  |  | ⑩Insulation mat for flexible tube |  |  | ⑨ Control Panel (2)
SEQUENCER INPUT UNIT | 2 | ○ |  | ○ | ⑦ | 32 | 1week to 1month | 10 | Boiler control fail
SEQUENCER OUTPUT UNIT | 3 | ○ |  | ○ | ⑦ | 33 | 1week to 1month | 10 | Boiler control fail
WATER LEVEL DETECTOR | 1 |  |  | ○ | ⑧ | 34 | Stock | 7.5 | Water level control fail
FLAME DETECTOR | 1 |  |  | ○ | ⑧ | 35 | Stock | 7.5 | Flame low alarm
SWITCHING POWER | 1 |  |  | ○ | ⑧ | 36 | Stock | 10 | Boiler control fail
RELAY 440V | 1 | ○ | ○ |  | ⑧ | 37 | Stock | 5 | FDF trip
RELAY 100V | 13 | ○ | ○ |  | ⑧ | 38 | Stock | 5 | Boiler control fail
RELAY 24V | 8 | ○ | ○ |  | ⑧ | 39 | Stock | 5 | Boiler control fail
MAGNETIC CONTACTOR FOR FDF | 1 | ○ | ○ |  | ⑨ | 40 | Stock | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR FOP | 1 | ○ | ○ |  | ⑨ | 40 | Stock | 7.5 | Magnetic low alarm
MAGNETIC CONTACTOR FOR FWP | 2 | ○ | ○ |  | ⑨ | 40 | Stock | 7.5 | Magnetic low alarm
CONTACTOR FOR FOH | 1 |  | ○ |  | ⑨ | 40 | Stock | 2.5 | Contactor low alarm
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
1
5
4
3
2
26
27
21
23
22
25
24
29
30
31
32
33
18
19
20
16
17
35
38
36
39
37
34
40
8
9
11
10
14
12
13
6
7
15
28
10-2
10-2

## BGW-N
| BGW-N/Parts List | [8 empty] | ver.1.1
| Vessel Name | [6 empty] | MFD NO.
| Parts Name | Working Quantity | Running | Dock | Critical | Drawing | Parts No. | Lead time | Replacement period （Year） | Trouble | Request | ●Pinch in and out for the detail of drawings
| W.O. PUMP | 1 | ○ | ○ | ○ | ① | 1 | Stock | 2.5 | Capacity down |  | ①W.O. line(After 2007)(Applicable only to N type) | ②Back door | ③ Door
| GEARED MOTOR FOR W.O. PUMP | 1 |  |  | ○ | ① | 2 | Stock | 5 | W.O. pump trip
| PRESSURE REDUCING VALVE | 1 |  | ○ |  | ① | 3 | Stock | 5 | Combustion fail
| SOLENOID PUMP | 1 |  |  | ○ | ① | 4 | Stock | 5 | Miss fire
| SOLENOID VALVE FOR W.O. | 2 | ○ |  |  | ① | 5 | Stock | 5 | Miss fire
| SOLENOID VALVE FOR PILOT | 2 | ○ |  |  | ① | 6 | Stock | 5 | Miss fire
| SOLENOID VALVE FOR AIR | 1 | ○ |  |  | ① | 7 | Stock | 5 | Miss fire
| GEARED MOTOR FOR DAMPER | 1 |  | ○ |  | ① | 8 | Stock | 5 | Combustion fail
| FLAME EYE | 1 | ○ | ○ |  | ① | 9 | Stock | 5 | Miss fire
| REGULATOR FOR AIR | 1 |  | 〇 |  | ① | 10 | Stock | 5 | Combustion fail
| W.O. PUMP COUPLING | 1 |  | 〇 |  | ① | 11 | Stock | 1 | W.O. pump trip
| ORIFICE | 1 |  | ○ |  | ① | 12 | Stock | 5 | Comsumption increase
| THERMO COUPLE | 1 | ○ | ○ |  | ② | 13 | Stock | 5 | Furnace temp. abnormal
| THERMOSTAT FOR EXH. | 1 |  | ○ |  | ② | 14 | Stock | 5 | EXH. gas abnormal
| WIND PRESSURE SWITCH | 1 | ○ | ○ |  | ② | 15 | Stock | 2.5 | Furnace pressure alarm
| LIMIT SWITCH | 2 |  | ○ |  | ③ | 16 | Stock | 5 | Door lock fail
| LATCH | 2 |  | ○ |  | ③ | 17 | Stock | 5 | Door lock fail |  | ④W.O. burner | ⑤Pilot burner |  | ⑥Control panel
| O RING FOR W.O. BURNER | 1 | ○ | ○ |  | ④ | 18 | Stock | 1 | Leaking W.O.
| BAFFLE PLATE FOR W.O. | 1 | ○ | ○ |  | ④ | 19 | Stock | 2.5 | Miss fire
| NOZZLE CASE | 1 | ○ | ○ |  | ④ | 20 | Stock | 1 | Miss fire
| W.O. NOZZLE | 1 | ○ | ○ |  | ④ | 21 | Stock | 1 | Miss fire
| SPARK ROD | 1 | ○ | ○ |  | ⑤ | 22 | Stock | 1 | Miss fire
| NOZZLE TIP FOR PILOT | 1 | ○ | ○ |  | ⑤ | 23 | Stock | 1 | Miss fire
| BAFFLE PLATE FOR PILOT | 1 | ○ | ○ |  | ⑤ | 24 | Stock | 2.5 | Miss fire
| MAGNETIC CONTACTOR FOR 88BF | 1 |  | ○ |  | ⑥ | 25 | 1 month | 5 | Magnetic low alarm
| MAGNETIC CONTACTOR FOR 88CF | 1 |  | ○ |  | ⑥ | 26 | 1 month | 5 | Magnetic low alarm
| I/O BOARD | 1 |  |  | 〇 | ⑥ | 27 | Stock | 10 | Control fail
い
i
Note on C2: Please insert vessel name here.
Note on C4: The parts quantity may vary depending on the specifications.
Note on K2: Please insert MFD NO. here.
Note on L4: Please insert the number of items request.
26
25
27
19
18
22
23
24
15
14
13
16,17
3
9
8
11
2
1
4
10
5
7
6
12
20
21